# Akvosphere Backend Engineering Documentation

## Industrial AI + IoT Monitoring Platform

Version: 1.0 Status: Active Engineering Documentation Audience: Backend Engineers, Platform Engineers, Embedded Engineers, Operations Engineers

# 1. Project Overview

## 1.1 Purpose

Akvosphere is an industrial monitoring and operational intelligence platform designed for atmospheric water generation (AWG) systems.

The platform focuses on:

- telemetry ingestion

- operational monitoring

- deterministic automation

- lifecycle-aware alerting

- equipment protection

- operational intelligence

- reliability-oriented analytics

- scalable fleet observability

The system intentionally prioritizes:

- deterministic logic

- explainability

- bounded processing

- lightweight infrastructure

- operational maintainability

- scalable backend simplicity

The architecture intentionally avoids:

- unnecessary AI orchestration

- microservice fragmentation

- heavy distributed streaming systems

- unbounded analytics processing

- opaque black-box automation

## 1.2 Industrial Use Case

The monitored machines are refrigeration-based atmospheric water generation systems.

The operational process is fundamentally:

humid air → cooling/condensation → water extraction → filtration → storage

The platform therefore operates primarily as:

# Refrigeration Operational Intelligence Infrastructure

rather than a generalized AI platform.

This distinction is important because:

- system behavior is physics-constrained

- operational optimization is deterministic

- failure modes are explainable

- safety semantics matter more than AI sophistication

The platform focuses on:

- compressor protection

- operational integrity

- efficiency monitoring

- machine lifecycle awareness

- environmental optimization

- telemetry-driven automation

## 1.3 Operational Goals

Primary operational goals:

- Prevent machine damage

- Detect operational anomalies early

- Improve machine uptime

- Maintain deterministic automation behavior

- Ensure scalable fleet monitoring

- Reduce operational blind spots

- Maintain explainable system behavior

- Enable future optimization workflows

The platform is engineered for:

- operational reliability

- low infrastructure complexity

- controlled scalability

- maintainable backend behavior

# 2. System Architecture

## 2.1 High-Level Architecture

ESP32 / Raspberry Pi Edge Layer
        ↓
Telemetry Transmission
        ↓
Supabase PostgreSQL Backend
        ↓
FastAPI Operational Backend
        ↓
APScheduler Automation Engine
        ↓
Operational Intelligence Rules
        ↓
Alert Lifecycle Management
        ↓
Observability + Governance Analytics

## 2.2 Core Architectural Philosophy

The architecture intentionally follows:

- centralized operational intelligence

- lightweight backend orchestration

- deterministic execution semantics

- bounded telemetry querying

- scheduler-driven evaluation

The system intentionally avoids:

- event explosion architectures

- distributed stream processors

- unbounded real-time pipelines

- per-ingest automation execution

This is critical for scalability.

# 3. Technology Stack

## FastAPI

- Operational APIs

- Automation orchestration

- Governance endpoints

## Supabase

- PostgreSQL-backed telemetry storage

- Alert persistence

- Operational metadata

## APScheduler

- Deterministic automation execution

- Bounded temporal scheduling

## Python

- Automation engine

- Operational intelligence rules

- Backend orchestration

## ESP32 + Raspberry Pi

- Telemetry acquisition

- Edge-side deterministic protection

- Local operational control

# 4. Core Backend Architecture

## Core Backend Responsibilities

The backend performs:

- bounded telemetry querying

- lifecycle orchestration

- alert management

- operational intelligence evaluation

- governance analytics

- execution observability

The backend intentionally avoids:

- low-latency refrigeration control

- cloud-dependent safety logic

- unnecessary distributed orchestration

## Bounded Temporal Querying

The platform intentionally uses bounded windows such as:

- last 5 minutes

- last 15 minutes

- last 1 hour

instead of full historical scans.

### Why This Exists

This prevents:

- unbounded compute growth

- database query explosion

- scheduler instability

- fleet-scale latency degradation

This is a critical scalability decision.

# 5. Operational Intelligence Engine

## Philosophy

The operational intelligence layer is deterministic and explainable.

The platform intentionally prioritizes:

- auditable logic

- predictable execution

- explainable automation

- operational trust

instead of opaque AI systems.

## Deterministic Intelligence

Example:

compressor ON
AND
fan OFF
→ critical integrity violation

This design improves:

- debugging

- reliability

- maintainability

- operational confidence

## Temporal Intelligence

The platform evaluates:

- state duration

- runtime continuity

- transition frequency

- escalation persistence

Examples:

- rapid cycling detection

- continuous runtime detection

- unresolved alert escalation

- sensor freeze detection

# 6. Current Automations

## Offline Detection

### Purpose

Detect machine connectivity loss.

### Trigger Logic

No telemetry within threshold
→ offline condition

### Lifecycle Behavior

- duplicate prevention

- escalation support

- auto-resolution on telemetry restoration

## Rapid Cycling Detection

### Purpose

Protect compressor lifespan.

### Trigger Logic

Excessive compressor toggling
within bounded temporal window

### Operational Value

Short cycling significantly damages refrigeration systems.

## Continuous Pump Runtime Detection

### Purpose

Detect abnormal pump behavior.

### Trigger Logic

Pump active beyond safe runtime threshold

## Sensor Freeze Detection

### Purpose

Detect invalid telemetry behavior.

### Trigger Logic

Telemetry unchanged for abnormal duration

## Operational Integrity Validation

### Purpose

Detect contradictory machine states.

### Example

compressor ON
fan OFF

## Fan/Compressor Sequence Validation

### Purpose

Protect refrigeration subsystem integrity.

### Trigger Logic

Compressor active without proper fan sequence

# 7. Alert Lifecycle System

## Lifecycle Goals

The lifecycle system exists to:

- prevent duplicate alerts

- maintain operational continuity

- support escalation semantics

- preserve auditability

## Lifecycle States

- active

- escalated

- acknowledged

- resolved

- closed

## Upward-Only Escalation

Severity escalation is intentionally upward-only.

Example:

WARNING → CRITICAL

without silent downgrades.

This preserves:

- operational trust

- lifecycle integrity

- audit consistency

# 8. Execution Observability

## Observability Goals

The platform tracks:

- automation execution counts

- execution failures

- scheduler latency

- execution duration

- lifecycle anomalies

## Structured Logging

Structured logging ensures:

- queryable execution history

- operational debugging

- governance analytics support

# 9. Automation Governance Analytics

## Purpose

Governance analytics validate automation quality.

This layer exists because:

bad automation destroys operational trust.

## Governance Metrics

Tracked metrics include:

- automation reliability

- false positive frequency

- unresolved alert persistence

- escalation frequency

- execution stability

## /automation-health Endpoint

Provides:

- execution summaries

- automation stability metrics

- operational reliability visibility

# 10. Scalability Design Decisions

## Why Deterministic Logic Was Chosen

Deterministic systems provide:

- explainability

- predictable compute usage

- operational trust

- easier debugging

## Why Lightweight Analytics Were Chosen

The platform intentionally avoids:

- heavy stream processing

- distributed analytics systems

- infrastructure-heavy orchestration

This reduces:

- operational complexity

- maintenance burden

- scaling fragility

## Why No AI/ML Currently

Current operational problems are deterministic and rules-driven.

The platform intentionally prioritizes:

- operational maturity

- telemetry quality

- lifecycle consistency

before introducing ML systems.

## Why No Streaming Systems

Streaming systems introduce:

- operational complexity

- infrastructure overhead

- debugging difficulty

Scheduler-driven bounded processing is currently sufficient.

## Why No Microservices Yet

The current platform intentionally remains a modular monolith.

Reasons:

- simpler deployments

- easier observability

- lower orchestration overhead

- improved maintainability

# 11. Edge vs Cloud Responsibility

## Edge Responsibilities

The edge layer handles:

- sensor acquisition

- immediate safety logic

- compressor protection

- local machine control

- fallback operation

Examples:

- tank full stop

- freeze protection

- compressor timing protection

These must remain local.

## Cloud Responsibilities

The cloud backend handles:

- fleet monitoring

- lifecycle management

- governance analytics

- operational intelligence

- historical visibility

The cloud intentionally avoids:

- millisecond control loops

- refrigeration safety control

# 12. Database Design

## Telemetry Storage

Stores:

- timestamped telemetry

- environmental data

- machine operational state

## Alert Storage

Stores:

- lifecycle state

- severity

- escalation metadata

- resolution metadata

## Execution Logs

Stores:

- automation execution records

- runtime metrics

- failure metadata

- governance metrics

# 13. Operational Reliability Considerations

## Scheduler Reliability

The scheduler must remain:

- deterministic

- observable

- bounded

- failure-isolated

## Failure Isolation

Automation failures should not cascade across the platform.

Each automation execution remains isolated.

## Temporal Consistency

Temporal consistency ensures:

- stable escalation timing

- predictable lifecycle behavior

- bounded operational semantics

# 14. Current Limitations

## Missing Telemetry Dimensions

Current limitations include missing:

- power consumption

- airflow metrics

- refrigerant pressure

- compressor temperature

- water production metrics

These are required for:

- efficiency analytics

- predictive maintenance

- advanced optimization

## Current Architecture Limits

The platform is currently optimized for:

- early production deployment

- moderate fleet scaling

- bounded scheduler workloads

Future scaling may require:

- query partitioning

- regional deployments

- distributed scheduling

# 15. Future Roadmap

## Production Hardening

Planned improvements:

- scheduler redundancy

- stronger retry semantics

- enhanced structured logging

- lifecycle hardening

## Scalability Improvements

Planned scalability improvements:

- telemetry partitioning

- latest-state materialized views

- optimized indexing

## Operational Optimization

Future optimization areas:

- energy-per-liter optimization

- humidity-aware runtime optimization

- compressor efficiency analytics

## Governance Improvements

Future governance areas:

- false-positive scoring

- automation drift analysis

- lifecycle quality scoring

# 16. Engineering Philosophy Summary

Akvosphere intentionally prioritizes:

- deterministic operational intelligence

- bounded processing

- explainable automation

- lifecycle-aware alerting

- operational reliability

- scalable simplicity

The platform intentionally rejects:

- unnecessary AI complexity

- infrastructure overengineering

- opaque automation systems

- premature distributed architectures

The long-term direction remains focused on:

- reliability

- scalability

- maintainability

- operational optimization

- thermodynamic efficiency intelligence

Source engineering discussions and architecture rationale referenced from uploaded project review materials. fileciteturn0file0L1-L246 fileciteturn0file1L1-L245 fileciteturn0file2L1-L387